Implant Specific Indications

- Neodent Drive GM Acqua - Indicated for Bone D3 and D4 and Immediate Placement.

- Neodent Drive GM  NeoPorous - Indicated for Bone D3 and D4 and for Immediate Placement.

- Neodent Helix GM Acqua - Indicated in D1, D2, D3, and D4 Bone Types and for Immediate Placement.

- Neodent Helix GM NeoPorous - Indicated in D1, D2, D3, and D4 Bone Types and for mmediate Placement.

- Neodent Titamax GM NeoPorous - Indicated for Bone type D1 and D2 and Guided Bone Regeneration areas.

- NobelActive 3.0 – Indicated only for the replacement of 11, 12, 21, 22,

31,32, 41, 42.

- NobelActive RP - Indicated for D4 and for Immediate Placement.

- NobelParallel RP – Indicated for all bone types D1, D2, D3, D4, for Immediate Placement, for Conventional Placement.

- NeoBiotech IS-III active – Indicated for Immediate placement and D3, D4 Bone Types.

- Osstem TS III – Indicated for  D1, D2, D3, and D4 Bone Types.

- Osstem TS IV – Indicated for D3 and D4 Bone Type.

- Osstem TS IV – Indicated for Sinus Lift.

- Osstem SS III – Indicated for D3 and D4 Bone Type.

- Osstem MS – Indicated for 31, 32, 33, 41, 42, 43.

- Osstem ETIII NM – Indicated for the Enhanced Osseointegration and Fast Healing. Hydroxyapatite Coated

- Biohorizons Tapered Pro – Indicated for Immediate Placement and for 11, 12, 13, 21, 22, 23. Laser Lock Collar surface for good connective tissue attachment.

- Biohorizons Tapered Pro Conical RBT – Indicated for Immediate Placement and All on 4, All on 6, and All on X. Feature Camelog connection with Biohorizons Tapered Pro features.

- Biohorizons Tapered Short Conical RBT – Indicated when available bone height is 9, 9.5, or 10 mm.

- Biohorizons Tapered IM – Indicated for Immediate Placement in the 16, 17, 26, 27, 36, 37, 46, 47.

- Biohorizons Tapered Short – Indicated for Bone height of 8, 9, 10 mm.

- Biohorizons Narrow Diameter – Indicated for 11, 12, 13, 21, 22, 23, 31, 32, 33, 41, 42, 43 with narrow spaces.

- Conelog Progressive Line – Indicated for 11, 12, 13, 21, 22, 23 and Immediate Extraction. Parallel Body provides excellent primary stability.

- Zimmer – Tapered Screw-Vent (TSV) – Indicated for D1, D2, D3, and D4 Bone Type, for Immediate Loading - high primary stability due to Apical Vent design.

- Zimmer – TSX – Indicated for Immediate placement.

- bredent Mini 2 Sky – Indicated for bone width 4mm, 4.5mm, 5mm -Narrow Ridges

- bredent Copa Sky – Indicated for 34, 35, 36, 37, 44, 45, 46, 47 regions with Bone Height 6mm, 7mm, or 8mm.

- bredent Narrow Sky – Indicated for bone width 4mm, 4.5mm, 5mm -Narrow Ridges

- bredent Blue Sky – Indicated for D1, D2, D3, D4 bone type with Immediate Loading. High Primary Stability.

- B&B Dental EV Line – Indicated for Soft Bone with High Stability, for 14, 15, 16, 17, 24, 25, 26, 27 and D3 and D4 Bone, for Immediate Implants.

- B&B Dental 3P – Indicated primarily for D1 and D2 Bone Types.

- B&B Dental 3P Long – Indicated for Pterygoid Implant.

- B&B Dental Wide Line – Indicated for Immediate extraction for 16, 17, 26, 27, 36, 37, 46, 47 for Bone Width 8mm, 9mm, 10mm.

- B&B Dental Dura-Vit Slim – Indicated for Narrow Ridge with Bone Width 4.5mm, 5mm, 6mm, for 12, 13, 22, 23, 31, 32, 33, 41, 42, 43.

- Cowellmedi Inno Submerged – Indicated for Universal use for D1, D2, D3, D4 bone, for the Delayed Protocol. SLA surface treatment.

- Cowellmedi Inno Submerged Narrow - Indicated for Narrow Ridge with Bone Width 4.5mm, 5mm, 6mm, for 11, 12, 13, 21, 22, 23, 31, 32, 33, 41, 42, 43.

- AlphaBio SPI – Indicated primarily for D3 and D4 bone, for Immediate Implant. Sand-blasted + double acid etched.

- Dentsply Sirona Ankylos C/X – Indicated for all bone type D1, D2, D3, D4, and for 11, 12, 13, 2, 22, 23. Provide excellent soft tissue stability.

- MIS Lance + - Indicated for D1, D2, D3, D4, Bone Types, and for Immediate Loading. SLA surface treatment.